## Electricity Consumption
Total of Electricity Consumption
Table-3
Indicator | Unit | Years
|  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Electricity Consumption | *GW/H | 218253.7783 | 225509.4509 | 246610.3112 | 262685.0224 | 281154.5008 | 294611.7788 | 296673 | 298439 | 299188.0017
source: Electricity & Cogeneration Regulatory Authority
*Gigawatt / Hour

## Consumption -regions
Electric energy consumed by regions
Years | Unit | Central Region | Western region | Eastern region | Southern region | Total
2009 | Gigawatt hours (GWh) | 58584 | 65292 | 59809 | 15812 | 199497
2010 |  | 63746 | 71101 | 65803 | 17604 | 218254
2011 |  | 67660 | 70381 | 69225 | 18242 | 225508
2012 |  | 72970 | 79388 | 73728 | 20524 | 246610
2013 |  | 74284 | 86189 | 78655 | 23557 | 262685
2014 |  | 85237 | 87998 | 82360 | 25560 | 281155
2015 |  | 90210 | 95831 | 81353 | 27218 | 294612
2016 |  | 90285 | 97774 | 80665 | 27948 | 296672
2017 |  | 90799 | 97137 | 82061 | 28443 | 298440
2018 |  | 85358 | 101159 | 83885 | 28786 | 299188
Source: Electricity & Cogeneration Regulatory Authority (ECRA)

## Electric energy consumed
the percentage of fuel consumption for electricity
Fuel consumed | Unit | Years
|  | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Natural gas | % | 0.38 | 0.34 | 0.37 | 0.46 | 0.47 | 0.44 | 0.43 | 0.51 | 0.54 | 0.57
Crude Oil |  | 0.34 | 0.4 | 0.37 | 0.31 | 0.28 | 0.32 | 0.32 | 0.24 | 0.2 | 0.18
Heavy fuel oil |  | 0.06 | 0.04 | 0.05 | 0.08 | 0.1 | 0.11 | 0.12 | 0.17 | 0.22 | 0.22
Diesel |  | 0.22 | 0.22 | 0.21 | 0.15 | 0.15 | 0.13 | 0.13 | 0.09 | 0.05 | 0.03
Total | bar: Years 2009 to Years 2018
Source: Electricity & Cogeneration Regulatory Authority (ECRA)

## The production capacity
The production capacity of electricity by design technology
Table-1
Indicator | Unit | Years
|  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Installed Capacity_ Diesel Generator | *GW/H | 1 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.6 | 0.4 | 0.4
Installed Capacity_ Combind cycle units Generator |  | 7 | 7 | 8 | 9 | 9 | 10 | 15 | 17 | 17
Installed Capacity_ Gas Turbine |  | 30 | 31 | 33 | 35 | 36 | 38 | 36 | 35 | 30
Installed Capacity_ Steam Turbine |  | 21 | 22 | 23 | 26 | 31 | 32 | 36 | 36 | 38
The total design capacity |  | 59 | 61 | 65 | 71 | 77 | 81 | 88 | 89 | 86
source: Electricity & Cogeneration Regulatory Authority
*Gigawatt / Hour

## Energy consumed for electricty
Enerergy consumed for electricty production
Table-2
Indicator | Unit | Years
|  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Enerergy consumed for electricty production (Single purpose) | *TBTU | 2077 | 2101 | 2254 | 2280 | 2288 | 2238 | 2280.8088 | 2545 | 2264.1219
Fuel consumption for cogeneration and desalination of sea water | TBTU | ـ | ـ | ـ | ـ | ـ | ـ | 1559.154 | 1685 | 1632.6571
source: Electricity & Cogeneration Regulatory Authority
*Trillion British Thermal Unit

## Import & export of electricity
Import and export of electricity
Table-4
Indicator | Unit | Years
|  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
*Import of electricity | ***GW/H | 1 | 5 | 416 | 434 | 465 | 461 | 342.495 | 2.9895 | 2
**Export of electricity | GW/H | 3 | 74 | 470 | 482 | 515 | 512 | 1062.165 | 38 | 36
source: Electricity & Cogeneration Regulatory Authority
*from Gulf cooperation Councll Interconnection Authority
**from Gulf cooperation Councll Interconnection Authority
***Gigawatt / Hour

## Produced energy
Produced energy
Table-5
Indicator | Unit | Years
|  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Produced energy | *GW/H | 240067 | 250077.07 | 271678.7121 | 284016.3818 | 311807.1515 | 338328.0093 | 345446 | 355080 | 358853.2978
Generated energy from the stations of Saudi Electricity Company | GW/H | 189416 | 193951.8 | 211603.3386 | 203371.6849 | 219132.8327 | 215669.8888 | 209692 | 206938 | 192606.087
source: Electricity & Cogeneration Regulatory Authority
*Gigawatt / Hour

## Consumption of energy by sector
Consumption of Electrical Energy by Sectors
Table-6
Sector | Unit | Years
|  | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Residential | *GWH | 109021 | 109623 | 120652 | 126113 | 136368.1009 | 144513.1345 | 143660.4684 | 143473 | 130428.4896
Commercial |  | 28918 | 32622 | 39387.6776 | 38882.1663 | 42273.9984 | 47163 | 48225 | 48349 | 46848.6355
Governmental |  | 28753 | 27746 | 30614.1092 | 32125.5131 | 35939.6055 | 39674.1055 | 38498 | 38666 | 43909.3741
Industrial |  | 43247 | 46726 | 46626.1194 | 55636 | 56618 | 51856.0524 | 53587 | 54862.6316 | 58177.234
Other |  | 8315 | 8791 | 9330.245 | 9928.0166 | 9954.8728 | 11406 | 12702 | 13089 | 19824.2685
Total |  | 218254 | 225509 | 246610.3112 | 262685.0224 | 281154.5008 | 294611.7788 | 296673 | 298439 | 299188.0017
source: Electricity & Cogeneration Regulatory Authority
*Gigawatt / Hour

## Available Capacities
Available Generation Capacities
Table-7
Available Capacities | Years
| Unit | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
| *MW | 53588 | 58462 | 65506 | 69155 | 74702 | 80471 | 76941
source: Electricity & Cogeneration Regulatory Authority
*Megawatt

## Capacity by Type Production
Installed Capacity by Type of Production
Table-8
Years | Unit | Steam Generators | Gas Generators | Combined Cycle Generators | Diesel Generators | Solar | Other | Total
2012 | *MW | 13986 | 26327 | 2331 | 439 | 0 | 10505 | 53588
2013 |  | 14686 | 24416 | 6342 | 464 | 0 | 12554 | 58462
2014 |  | 16782 | 24527 | 6899 | 415 | 0 | 16883 | 65506
2015 |  | 16782 | 24282 | 8708 | 399 | 0 | 18984 | 69155
2016 |  | 19350 | 22980 | 11954 | 387 | 0 | 20031 | 74702
2017 |  | 21988 | 21861 | 12471 | 265 | 2.8 | 23883.2 | 80471
2018 |  | 22488 | 17505 | 13353 | 185 | 2.8 | 23407.2 | 76941
source: Electricity & Cogeneration Regulatory Authority
*Megawatt

## Maximum Load
Maximum Load
Table-9
Maximum Load | Years
| Unit | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
| *MW | 51939 | 53864 | 56547 | 62260 | 60828 | 62121 | 61743
source: Electricity & Cogeneration Regulatory Authority
*Megawatt

## Produced Electrical Energy
Produced Electrical Energy
Table-10
Years | Unit | Stem Generators | Gas Generators | Combined Cycle Generators | Diesel Generators | rent Diesel Generators | Total
2012 | *GW/H | 93475.3386 | 97664 | 15615 | 377 | 4472 | 211603.3386
2013 |  | 88277.0816 | 81688.5818 | 28468.8709 | 465.5742 | 4471.5764 | 203371.6849
2014 |  | 94901.9664 | 81834.3455 | 37589.301 | 263.3015 | 4543.9183 | 219132.8327
2015 |  | 87602.3468 | 83254.0451 | 40871.2018 | 270.5434 | 3671.7517 | 215669.8888
2016 |  | 84975 | 70214 | 50602 | 254 | 3647 | 209692
2017 |  | 95366.6017 | 54021.7361 | 54959.1663 | 207 | 2380 | 206934.5041
2018 |  | 95644.052 | 36596.0957 | 58752.3549 | 166.1055 | 1444.087 | 192602.695
source: Electricity & Cogeneration Regulatory Authority
*Gigawatt / Hour

## Main Indicators of Electrical
Total Main Indicators of Electrical Energy and Capacity in Saudi Arabia
Table-11
Electrical Energy | Unit | Years
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Installed Capacity | MW* | 53588 | 58462 | 65506 | 69155 | 74702 | 80471 | 76941
Maximum Load | MW | 51939 | 53864 | 56547 | 62260 | 60828 | 62121 | 61743
Produced Energy | GWH** | 271679 | 284016.3818 | 311807.1515 | 338328.0093 | 345445.5 | 355080 | 358853.2978
Consumed Energy | GWH | 246610.3112 | 262685.0224 | 281154.5008 | 294611.7788 | 296673 | 298439 | 299188.0017
source: Electricity & Cogeneration Regulatory Authority
*Megawatt
**Gigawatt / Hour

## Missing Energy in the Networks
Missing Energy in the Networks of Transmission and Distribution
Table-12
Electrical Energy | Unit | Years
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Generated energy from the stations of Saudi Electricity Company | *GW/H | 211603 | 203371.6849 | 219132.8327 | 215670 | 209692 | 206938 | 192606.087
Transmitted energy from desalination plants |  | 14102 | 14596.5525 | 13757 | 25180 | 30733 | 32998 | 15399.7365
Transmitted energy from other producers |  | 45973 | 66048 | 78916.8808 | 97486 | 105020.5 | 115144 | 150847.4743
Produced energy |  | 271678.7121 | 284016.3818 | 311807.1515 | 338328.0093 | 345445.5 | 355080 | 358853.2978
Transmitted energy through networks |  | 264852.7121 | 277454.8608 | 304240 | 330367 | 337428 | 345712 | 349594.1044
Energy sales |  | 240288 | 256687.6046 | 274502 | 286037 | 287692 | 288656 | 287981.8188
Missing energy in the networks of transmission and distribution |  | 24551 | 20763 | 21144 | 25596 | 26185.5852 | 32423 | 33105.44
Percentage of missing energy in the networks of transmission and distribution |  | -9.27% | -7.48% | -6.95% | -7.75% | -7.76% | -9.38% | -9.47%
source: Electricity & Cogeneration Regulatory Authority
*Gigawatt / Hour

## Electricity by Saline water
Electricity generated from the Saline Water Conversion Corporation
Table-13
City | Unit | Years
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Jubail | *GWH | 8704.141 | 10756.384 | 10537.768 | 10300.907 | 10366.116 | 8971.966 | 8168.777
Al-khobar |  | 5984.753 | 4585.6 | 4953.298 | 5902.806 | 5453.371 | 6682.775 | 4254.299
Al-khafji |  | 32.833 | 40.625 | 47.846 | 46.138 | 45.41 | 42.681 | 17.929
Jeddah |  | 2180.889 | 2647.377 | 1503.069 | 1182.232 | 1225.623 | 805.56 | 452.17
Al-shu'aibah |  | 3879.639 | 4067.817 | 3921.318 | 4230.823 | 3571.047 | 4338.786 | 4473.145
Yanbu |  | 2500.992 | 2072.22 | 2474.298 | 2553.197 | 2472.408 | 2176.995 | 1381.572
Al-shaqeq |  | 363.952 | 710.58 | 644.255 | 753.722 | 834.836 | 871.997 | 646.305
Ras Al-khair |  | ـ | ـ | 5608.58 | 12058.81 | 18977.84 | 21345.535 | 21354.872
Total |  | 23647.199 | 24880.603 | 29690.432 | 37028.635 | 42946.651 | 45236.295 | 40749.069
source: Electricity & Cogeneration Regulatory Authority/The Saline Water Conversion Corporation
*Gigawatt / Hour

## Total electricity from saline
Total electricity generated from desalination plants for licensed companies including the Saline Water Conversion Corporation
Table-14
Total of electricity generation | Unit | Years
|  | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
| *GW/H | 99378.746 | 104479.888 | 111875.146 | 128910.654 | 145810.876 | 151298.202 | 135448.324
source: Electricity & Cogeneration Regulatory Authority/The Saline Water Conversion Corporation
*Gigawatt / Hour

## Population&Energy per Capita
Number of Population and Energy Sales Per Capita/ Subscriber
Table-15
Years | Number of Population | Number of Subscribers | Energy sales (*GW/H) | Energy Indicator Per Capita (**KW/H per capita) | Energy Indicator Per Subscriber (KW/H per subscriber)
2012 | 28896842 | 6746646 | 246610 | 8534 | 36553
2013 | 29613068 | 7159368 | 262685 | 8871 | 36691
2014 | 30339797 | 7620128 | 281155 | 9267 | 36896
2015 | 31062072 | 8112539 | 294612 | 9485 | 36316
2016 | 31787580 | 8607000 | 296673 | 9333 | 34469
2017 | 32612846 | 9069513 | 298439 | 9151 | 32906
2018 | 33413660 | 9434489 | 299188.0017 | 8954.0626 | 31712
source: Electricity & Cogeneration Regulatory Authority/General Authority for statistics
*Gigawatt / Hour
**Kilowatt